## Year 1 Load Forecast
Annex G
Year 1 Monthly Forecast Energy (kWh) and Demand (kW) Sourced from the Grid of Generator Customer per Metering/Delivery Point (Feedback Power)
(Name of Generator)
Grid-connected Power Supplier Information
Power Supplier 1 | : Contracted Capacity per month (or year), in kW
: Duration of Contract Period
: Estimated Capacity (Plant) Factor
Power Supplier 2 | : Contracted Capacity per month (or year), in kW
: Duration of Contract Period
: Estimated Capacity (Plant) Factor
Power Customer | NGCP Metering/ Delivery Point | Location | Feeder/ Transformer Capacity | Demand/ Energy | January | February | March | April | May | June | July | August | September | October | November | December | Peak/Total
Power Customer A |  |  |  | kW
kWh
kW
kWh
kW
kWh
|  |  | Total | kW
kWh
Prepared by: |  |  |  |  | February: Reviewed and Approved by:
Note on F20: PAGAYON, ARMANDO: The level should reflect forecast Maximum Peak Demand for the year and not the cumulative monthly peak demand
Note on F22: PAGAYON, ARMANDO: The level should reflect forecast Maximum Peak Demand for the year and not the cumulative monthly peak demand
Note on F24: PAGAYON, ARMANDO: The level should reflect forecast Maximum Peak Demand for the year and not the cumulative monthly peak demand

## Year 2-5 Load Forecast
Year 2 to 5 Annual Forecast Energy (kWh) and Demand (kW) Sourced from the Grid of Generator Customer per Metering/Delivery Point (Feedback Power)
(Name of Generator)
Grid-connected Power Supplier Information
Power Supplier 1 | : Contracted Capacity per month (or year), in kW
: Duration of Contract Period
: Estimated Capacity (Plant) Factor
Power Supplier 2 | : Contracted Capacity per month (or year), in kW
: Duration of Contract Period
: Estimated Capacity (Plant) Factor
Power Customer | NGCP Metering/ Delivery Point | Location | Feeder/ Transformer Capacity | Demand/ Energy | 2 | 3 | 4 | 5
Power Customer A |  |  |  | kW
kWh
kW
kWh
kW
kWh
|  |  | Total | kW
kWh
Prepared by: |  |  |  |  | Reviewed and Approved by:
Note on F19: PAGAYON, ARMANDO: The level should reflect forecast Maximum Peak Demand for the year and not the cumulative monthly peak demand
Note on F21: PAGAYON, ARMANDO: The level should reflect forecast Maximum Peak Demand for the year and not the cumulative monthly peak demand
Note on F23: PAGAYON, ARMANDO: The level should reflect forecast Maximum Peak Demand for the year and not the cumulative monthly peak demand

## Year 1 NE Gen
Year 1 Monthly Forecast Net Electrical Output (kW and kWh) of Grid-Connected Generator
(Name of Generator)
Technical Information
Installed Capacity | : (in kW)
Dependable Capacity | : (in kW)
Annual Capacity Factor | : (in %)
Date of Operation | : ___________
Commercial Information
Name of Off-taker | Contracted Capacity, kW | Contract Period
Customer 1
Customer 2
Customer n
RES 1
RES 2
RES n
Others (Please Specify)
Total
Monthly Generation Data
| Peak Load/ Energy Generation (Net of Station Use) | January | February | March | April | May | June | July | August | September | October | November | December | Peak/Total
Unit 1 | kW
kWh
Unit 2 | kW
kWh
Unit 3 | kW
kWh
Total | kW
kWh
Prepared by: |  | May: Reviewed and Approved by:

## Year 2-5 NE Gen
Year 2 to 5 Annual Net Electrical Output (kW and kWh) Forecast of Grid-Connected Generator
(Name of Generator)
Technical Information
Installed Capacity | : (in kW)
Dependable Capacity | : (in kW)
Annual Capacity Factor | : (in %)
Date of Operation | : ___________
Commercial Information
Name of Off-taker | Contracted Capacity, kW | Contract Period
Customer 1
Customer 2
Customer n
RES 1
RES 2
RES n
Others (Please Specify)
Total
| Peak Load/ Energy Generation (Net of Station Use) | 2 | 3 | 4 | 5
Unit 1 | kW
kWh
Unit 2 | kW
kWh
Unit 3 | kW
kWh
Total | kW
kWh
Prepared by: | [5 empty] | Reviewed and Approved by:
Note on C28: PAGAYON, ARMANDO: The level should reflect the forecast maximum load for the year and not the cumulative monthly load
Note on C30: PAGAYON, ARMANDO: The level should reflect the forecast maximum load for the year and not the cumulative monthly load
Note on C32: PAGAYON, ARMANDO: The level should reflect the forecast maximum load for the year and not the cumulative monthly load

## Year 1 Forecast Hourly (Peak)
Year 1 Forecasted Peak Demand (kW) in Peak Month (Feedback Power)
Customer Name: | _____________________________
Calendar Year:
Estimated Peak Month:
Power Supplier 1: | [Contracted Capacity per month (or year), in kW]
[Duration of Contract Period]
[Estimated Capacity (Plant) Factor]
Power Supplier 2: | [Contracted Capacity per month (or year), in kW]
[Duration of Contract Period]
[Estimated Capacity (Plant) Factor]
Forecasted Hourly Demand (kW)
TIME | MONDAY | TUESDAY | WEDNESDAY | THURSDAY | FRIDAY | SATURDAY | SUNDAY | HOLIDAYS
00HH
01HH
02HH
03HH
04HH
05HH
06HH
07HH
08HH
09HH
10HH
11HH
12HH
13HH
14HH
15HH
16HH
17HH
18HH
19HH
20HH
21HH
22HH
23HH
MAXIMUM DEMAND | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Prepared by: |  |  |  |  | Reviewed and Approved by:

## Year 1 Forecast Hourly (Off-Pk)
Year 1 Forecasted Peak Demand (kW) in Off-Peak Month (Feedback Power)
Customer Name: | _____________________________
Calendar Year:
Estimated Off-Peak Month:
Power Supplier 1: | [Contracted Capacity per month (or year), in kW]
[Duration of Contract Period]
[Estimated Capacity (Plant) Factor]
Power Supplier 2: | [Contracted Capacity per month (or year), in kW]
[Duration of Contract Period]
[Estimated Capacity (Plant) Factor]
Forecasted Hourly Demand (kW)
TIME | MONDAY | TUESDAY | WEDNESDAY | THURSDAY | FRIDAY | SATURDAY | SUNDAY | HOLIDAYS
00HH
01HH
02HH
03HH
04HH
05HH
06HH
07HH
08HH
09HH
10HH
11HH
12HH
13HH
14HH
15HH
16HH
17HH
18HH
19HH
20HH
21HH
22HH
23HH
MAXIMUM DEMAND | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Prepared by: |  |  |  |  | Reviewed and Approved by: